# Watchman Recall Workshop – Module 2: Preparing and Validating Data for ChatGPT (Suggested Duration ~ 45 minutes)

(Duration: 45 minutes – complete collaboratively in your group)
Dataset: Watchman_Workshop_MUADE_Data_Subset_1500.xlsx (unclean; natural defects only, from Module 1)

Goal: Produce a ~1,000‑record clean subset for Module 3. Download and save it in your files. Note: If you are unable to complete this step in the allocated time, a clean dataset will be provided to you by the instructor.

## Part 1 – Data Structure & Completeness Check (10 min)

Goal: Verify dataset integrity and identify missing data.
Tip: Ask ChatGPT to use OMI (Orca1 Mfg. Index) column for manufacturer normalization; do not rely on the column labeled Manufacturer.

| Metric | Count | Notes |
| --- | --- | --- |
| Total Records (input) | 1500 | This is only a sample and does not represent the full MAUDE dataset. |
| Unique Report Numbers |  |  |
| Missing Event Descriptions |  |  |
| Duplicate Entries |  |  |
| Manufacturer Normalization Field Present (OMI) | Yes/No | If Yes, use OMI for grouping |

## Part 2 – Understanding the MAUDE Dataset (5–8 min)

Tip:  Make sure ChatGPT understands these attributes of the dataset. You should remind ChatGPT in every new session to use this knowledge when analyzing data and drawing insights/conclusions.

| Field | What it Represents | Notes/Potential Issues |
| --- | --- | --- |
| OMI (Orca1 Mfg. Index) | Normalized manufacturer identifier | Use for grouping/roll‑ups |
| Manufacturer | Reported manufacturer string | Spelling variants; distributors/subsidiaries |
| FDA Date Received | Timeline anchor | Out‑of‑range or inconsistent formats |
| Event Description/Manufacturer Narrative | Free‑text evidence | Missing or truncated text |
| Maude Event Type | Injury/Malfunction/Death | Coding inconsistency possible |

## Part 3 – Cleaning & Normalization (15–20 min)

Checklist (✓ when done)
☐ Remove exact duplicate Report Numbers
☐ Keep only rows with non‑empty narratives
☐ Normalize manufacturer counts by OMI (ignore raw spelling variants)
☐ Filter FDA Date Received to 2019–2025
☐ Record # removed and reasons below

Rows removed and reasons:
• Duplicates: _____   • Missing narratives: _____   • Out‑of‑range dates: _____   • Other: _____

## Part 4 – ChatGPT‑Ready Prompt Design (5–8 min)

Copy/paste and adapt as needed:
Prompt A — Overview: List columns, total rows, and any missing/blank values.
Prompt B — Duplicates & Narratives: List duplicate Report Numbers and count missing narratives.
Prompt C — OMI Normalization: Group Manufacturer values and map to OMI labels.
Prompt D — Clean Filter: Remove duplicates/missing narratives; keep 2019–2025; return counts by OMI.
Prompt E — Clean Snapshot: Table of OMI | Count | %; total rows and reasons for removal.

Prompt F – Export a 1000-record “clean” dataset sample, sampling at a higher proportion for Boston Scientific records but still be representative of other manufacturers. Final output must include all columns from the initial dataset.

## Part 5 – Validation & Cross‑Check (8–10 min)

Check if ChatGPT output of 1000 “clean” records is a representative sample, adequately weighted for Boston Scientific records in relation to other manufacturers.

Tip: Prompt ChatGPT to explain the sampling logic and limitations.

Select 5 records from your cleaned subset. Compare ChatGPT’s summary to the original text. See an example below:

| Record Sample ID | ChatGPT Summary Matches Source (Y/N) | Comments |
| --- | --- | --- |
| 2020394-2022-00633 | Y | Correctly summarized balloon deflation failure. |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |
| 5 |  |  |

## Part 6 – Save & Handoff to Module 3 (5 min)

Target: ~1,000 rows after cleaning.

• Final clean row count: ______
• File saved as: Team____ _Clean_1000.xlsx
• One question or risk to explore in Module 3: __________________________

An example of a question is:

How many additional Air Embolism events can we detect from narratives not coded in the Patient Problem field?